

|  |  |  |
| --- | --- | --- |
| **Change Note** | | **CN-069** |
| **Change to:** Technical Assumption53 | | |
| **Description:** Space heating system pressure | | |
| **References:** Test regime paragraph 2.12, all Tests | | |
| **Change originator:** FV | | **Date of request:** 30/06/21 |
| **Rev:** 01 | **Date authored:** 21/09/21 | **Proposed change to assumption:** N |

1. Proposed Approach

Space heating system pressure to be 1.5 bar ± 5 %.

Criteria as previously.

1. Rationale (underlying basis for the change)

Representative pressure of space heating systems.

1. Impact of change (e.g. implications for test rig)

N/A

|  |  |  |  |
| --- | --- | --- | --- |
| **Evaluation of change** | | | |
| **Date evaluated:** 30/06/21 | **Those present:** GJ, RH, SC, MO & FV | **Additional info required?:** N | **Modification to proposed approach?:** N |
| **Details:** Confirmation of space heating system pressure | | | |
| **Signed off: Yes** | | | |