****

**Assumption Change Control Sheet**

|  |  |
| --- | --- |
| **Test** | 1a, 1b, 1c High temperature space heating Test |
| **Assumption** | 10. Space heating return temperature |

|  |  |
| --- | --- |
| Change Originator | Martin Crane |
| **Change Request No.** | 008 |
| Date of Request | 17/12/2019 |
| Proposed Change to Assumption? | **No** |

|  |
| --- |
| **Proposed Approach**  Retain return temperature of 40°C |
| **Rationale (underlying basis for assumption)**  The CIBSE CP1 (2020) maximum temperature for space heating from radiators and fan coil is 40°C. Ref Objective 3.4 |
| **Impact of Change (e.g. implications for test rig)**  N/A |

|  |  |
| --- | --- |
| CHANGE EVALUATION | |
| Date Evaluated | 17/12/2019 |
| Additional Information Required? | N |
| Modification to Proposed Approach? | N |
| Details | |
| Signed-off | **Y** |