

|  |  |  |
| --- | --- | --- |
| **Change Note** | | **CN-073** |
| **Change to:** Technical Assumption 65 | | |
| **Description: HIU Mounting** | | |
| **References: All tests, test regime paragraph 2.25** | | |
| **Change originator:** CF | | **Date of request:** 19/09/21 |
| **Rev:** 1 | **Date authored:** 19/09/21 | **Proposed change to assumption:** No |

1. Proposed Approach

No change to proposed approach

1. Rationale (underlying basis for the change)

No reasoning found for adjustment to mounting requirements.

1. Impact of change (e.g. implications for test rig)

none

|  |  |  |  |
| --- | --- | --- | --- |
| **Evaluation of change** | | | |
| **Date evaluated:** 21/09/21 | **Those present:** BESA HIU Technical Committee | **Additional info required?:** No | **Modification to proposed approach?:** No |
| **Details:** Rationale detailed in TN-028 | | | |
| **Signed off:** Yes | | | |