

|  |  |  |
| --- | --- | --- |
| **Change Note** | | **CN-042** |
| **Change to:** Technical Assumption41 | | |
| **Description:** HIU commissioning guidance | | |
| **References:** Test regime paragraph 3.11 | | |
| **Change originator:** FV | | **Date of request:** 30/06/21 |
| **Rev:** 01 | **Date authored:** 21/09/21 | **Proposed change to assumption:** N |

1. Proposed Approach

Commissioning will be carried out based on the commissioning guide provided by the manufacturer. In the case that the HIU manufacturer alone can carry out commissioning (e.g. software based), full commissioning documentation must be completed, recording all inputs and supplied to the test house.

Criteria as previously.

1. Rationale (underlying basis for the change)

To ensure full clarity on commissioning procedure and record keeping.

1. Impact of change (e.g. implications for test rig)

N/A

|  |  |  |  |
| --- | --- | --- | --- |
| **Evaluation of change** | | | |
| **Date evaluated:** 30/06/21 | **Those present:** GJ, RH, SC, MO & FV | **Additional info required?:** N | **Modification to proposed approach?:** N |
| **Details:** Confirmation of HIU commissioning guidance. | | | |
| **Signed off: Yes** | | | |