## Intro
Introduction
Scope | This workbook maps out activities related specifically to installation of ventilation, fire resisting and smoke control ducts (or any of these) with the related installation of fire dampers, intumescent dampers (non-mechanical fire barriers), smoke control dampers. This includes verifying function of all the types of dampers as per design and operation. Systems will also include associated equipment such as fans, attenuators etc. and support structures. This includes both galvanised sheet metal ductwork and plastic ductwork installed where project specifications are based on industrial and commercial standards. This does not include erection of walls or floors, installation of controls, or commissioning of the whole system installed. For the purposes of this work, the design and specification of ducts and dampers and the installation of other passive fire protection measures are specifically excluded.
Functional mapping | The functional map sets out the activities carried out within this area. Employers and individuals should select activities from the functional map in which they need to demonstrate competence. All individuals should demonstrate against mandatory activities. Individuals should choose which additional activities are relevant to their scope of work.
Functional map
Prioritisation of activity development (SKEB) | The activities within the functional map have been prioritised for further development of statements for skills, knowledge, experience and behaviour (SKEB). This takes into account the current focus of the work of SLG10 (specifically on installation & maintenance activities), emerging approaches to supervisory and management work, and the need for engagement with other working groups. The activities may be re-prioritised as more information emerges. Only those with a development priority of 1 have been addressed within this workbook as part of the first phase of development work. Activities marked as priority 2 will be dealt with in a subsequent phase.
Occupational relevance | Each activity has also been mapped against relevant sector occupations, to provide an indication of who is likely to be undertaking each activity. This is not intended to be exhaustive, and role titles and scopes may differ between organisations encompassing varying ranges of activities depending on the work undertaken.
Mapping to wider frameworks | The SKEB statements set out have been mapped against wider industry frameworks. Consolidated details can be found on the following tabs:
- 8670-1: 2024 - Competence frameworks for building safety. Part 1: Core criteria - code of practice
- WG 12 CPC whitepaper (level E)
- WG 12 CPC whitepaper (level D)

## Duties_activites (hidden)
Occupational area | Occupation | Role diversity | Duties / activities
Broad description of the work area | Broad occupational title | A role is the actual job that someone does. The roles of people in the same occupation may differ in scope between organisations, or even within organsiations | The activites that someone usually does in the workplace. Not what you need to know or how to do it - these are covered in the detailed SKEB Statements within the standards
Ductwork installers carry out installation of ventilation, fire resisting and smoke control ducts (or any of these) with the related installation of fire dampers, intumescent dampers (non-mechanical fire barriers), smoke control dampers. This includes verifying function of all the types of dampers as per design and operation. Systems will also include associated equipment such as fans, attenuators etc. and support structures. This includes both galvanised sheet metal ductwork and plastic ductwork installed where project specifications are based on industrial and commercial standards. This does not include installation of controls, or commissioning of the whole system installed. | Ductwork installer | All ductwork installers will install general ventilation ductwork and fire dampers and associated equipment, and will verify the function of those dampers. Some ductwork installers will also work specialist fire resisting or smoke control ductwork, or install other types of damper. Some ductwork installers may also be responsible for monitoring the work of trainees that are working alongside them. Some ductwork installers may also cross over into other types of installation work, specifically penetration sealing / firestopping or installation of fire resisting insulation | All ductwork installers will:
Apply Health and Safety and Environmental Legislation in the Building Services Engineering Sector
Establish and Maintain Relationships in the Building Services engineering sector
Prepare to carry out work
Identify systems, equipment and components
Inspect and test mechanical systems, equipment and components
Install and test industrial and commercial heating and ventilating ductwork systems - general ventilation ductwork
Install and test mechanical fire dampers
Install and test intumescent non-mechanical fire dampers
Some ductwork installers will:
Install and test industrial and commercial heating and ventilating ductwork systems - fire resisting ductwork
Install and test industrial and commercial heating and ventilating ductwork systems - smoke control ductwork
Install and test smoke control dampers in shafts, compartment barriers & smoke control ducts
Monitor the work of trainees involved in ductwork installation
Install dry penetration seals for ducts and dampers
Ductwork installers may also:
Apply high pressure exerting sealants for firestopping
Install ablative coated batt & mastic systems
Apply sealant / mastic coatings for firestopping
Install fire resistant mortars for penetration sealing
Install wet mortars & plaster for penetration sealing
Install fire resisting insulation to ductwork
| Trainee ductwork installer | Trainee ductwork installers are not yet competent and work alongside skilled ductwork installers to complete work All trainee ductwork installers will be working towards installation of ventilation ductwork and fire dampers. | All trainee ductwork installers will be working with a competent ductwork installer to learn how to:
Apply Health and Safety and Environmental Legislation in the Building Services Engineering Sector
Establish and Maintain Relationships in the Building Services engineering sector
Prepare to carry out work
Identify systems, equipment and components
Inspect and test mechanical systems, equipment and components
Install and test industrial and commercial heating and ventilating ductwork systems - general ventilation ductwork
Install and test mechanical fire dampers
Install and test intumescent non-mechanical fire dampers

## Functional map
Back to introduction
Functional map
Relevance to sector occupations: This mapping below provides an indication only of which occupations might undertake which activities within the framework. Mandatory activities are undertaken by all roles within an occupation. Additional activities
Duty / Activity area | Duty / Activity |  | Phase | Trainee ductwork installer | Ductwork installer | Installation team leader | Installation supervisor
Work safely | WS001 | Apply Health and Safety and Environmental Legislation in the Building Services Engineering Sector | 1 | Working towards | Mandatory | ü | ü
| WS002 | Establish and Maintain Relationships in the Building Services engineering sector | 1 | Working towards | Mandatory | ü | ü
Prepare for installation | PFI001 | Prepare to carry out work | 1 | Working towards | Mandatory | ü | ü
| PFI002 | Identify systems, equipment and components | 1 | Working towards | Mandatory | ü | ü
| PFI003 | Inspect and test mechanical systems, equipment and components | 1 | Working towards | Mandatory | ü | ü
Install ductwork | DD001 | Install and test industrial and commercial heating and ventilating ductwork systems - general ventilation ductwork | 1 | Working towards | Mandatory | ü | ü
| DD002 | Install and test industrial and commercial heating and ventilating ductwork systems - fire resisting ductwork | 1 |  | Additional | ü | ü
| DD003 | Install and test industrial and commercial heating and ventilating ductwork systems - smoke control ductwork | 1 |  | Additional | ü | ü
Install dampers | DD004 | Install and test mechanical fire dampers | 1 | Working towards | Mandatory | ü | ü
| DD005 | Install and test intumescent non-mechanical fire dampers | 1 | Working towards | Mandatory | ü | ü
| DD006 | Install and test smoke control dampers in shafts, compartment barriers & smoke control ducts | 1 |  | Additional | ü | ü
Support trainees | TBC | Monitor the work of trainees involved in ductwork installation | 2 |  | Additional | ü | ü
Coordinate work | TBC | Coordinate a Work Site in the Building Services Engineering Sector | 2 |  | Additional
Perform electrical work | TBC | Perform Electrical Work on Mechanical Building Services Systems | 2 |  | Additional
Commission & decommission systems | TBC | Inspect and Pre-Commission Industrial and Commercial Heating and Ventilating Systems | 2 |  | Additional
| TBC | Commission Industrial and Commercial Heating and Ventilating Systems | 2 |  | Additional
| TBC | Decommission Industrial and Commercial Heating and Ventilating Systems | 2 |  | Additional
Linked activities in other frameworks
Seal ducts & dampers | FS007 | Apply high pressure exerting sealants for firestopping | 2 |  | Additional | ü | ü
| FS008 | Install ablative coated batt & mastic systems | 2 |  | Additional | ü | ü
| FS009 | Apply sealant / mastic coatings for firestopping | 2 |  | Additional | ü | ü
| FS010 | Install fire resistant mortars for penetration sealing | 2 |  | Additional | ü | ü
| FS034 | Install wet mortars & plaster for penetration sealing | 2 |  | Additional | ü | ü
Insulate ductwork | TBC | Install fire resisting insulation to ductwork | 2 |  | Additional | ü | ü
Wall preparation | TBC | Install dry penetration seals for ducts and dampers | 2 |  | Additional

## Work safely activities
Return to functional map
This sheet details the competence requirements in relation to working safely
- Apply Health and Safety and Environmental Legislation in the Building Services Engineering Sector (WS001)
- Establish and Maintain Relationships in the Building Services engineering sector (WS002)
WS001 | Apply Health and Safety and Environmental Legislation in the Building Services Engineering Sector
Refs: | BSEBSE01 - Apply health and safety and environmental legislation in the building services engineering sector
Description: | This activity is about establishing and maintaining working practices and procedures for installation and maintenance of building services engineering systems that give consideration to health and safety, the natural environment and the working environment. This includes identifying hazards and risks, applying appropriate procedures and working practices to protect yourself and others.
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEBSE01 | 8670-1 | CPC |  | You must know and understand | BSEBSE01 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Apply health, safety & environmental legislation | Identify the appropriate industry standards and regulations | P1 |  |  | Apply health, safety & environmental legislation | Appropriate industry standards and regulations | K1 |  |  | A minimum of 1 instance of applying health and safety and environmental legislation per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Apply relevant organisational procedures | P2 |  |  |  | Your responsibilities in accordance with organisational procedures | K2 | 1-a2 3-a3 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Identify hazards and risks | P3 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a2 3-b1 3-b2 3-b3 |  |  | The application, advantages and limitations of different working practices | K3 | 1-a1 |  |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Complete documentation in accordance with the requirements of the organisational procedures | P4 | 1-b6 4-ab2 |  |  | How to recognise materials and substances that can potentially be harmful | K4 | 1-a1 1-d3 1-e1 3-a2 3-b1 |  |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Review the organisational procedures to ensure that they will not cause potential hazards and risks | P5 | 1-b1 1-d3 1-d4 1-e1 3-a2 3-b1 3-b2 3-b3 3-b4 |  |  | The documentation associated with the organisational procedures' requirements | K5 | 4-ab1 4-ab2 |  |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Implement organisational procedures, suppliers' and manufacturers' instructions appropriate to the safe use, maintenance, handling, transport and storage of: - tools, plant and access equipment - equipment and components - materials and substances | P6 | 1-b1 1-e1 3-b4 | E5-1 E8-2 D8-2 |  | The organisational procedures for dealing with the presence of harmful materials and substances | K6 | 1-d3 1-e1 3-a2 3-b1 3-b3 3-b4
|  | Report to the relevant people in accordance with organisational procedures: - potential hazards and risks - potentially harmful materials and substances | P7 | 1-a4 1-b3 1-d3 1-d4 1-e1 3-b1 3-b3 4-c1 4-c2 |  |  | Where and how to locate relevant health and safety information needed to complete the installation and/or maintenance activity in accordance with organisational procedures | K7 | 3-b1 3-b3 | E1-4
|  | Confirm that the conduct of people when undertaking the installation and/or maintenance activity does not cause potential hazards and risks | P8 | 1-a4 1-b1 1-b2 1-d3 1-d4 1-e1 3-a2 3-b2 3-b3 3-b4 |  |  | What constitutes a hazard or risk | K8 | 1-a4 1-b4 1-d3 1-d4 1-e1 3-a2 3-b1
|  | Comply with organisational procedures in the event of: - injuries to self and/or others - emergencies - evacuation procedures | P9 | 1-b1 1-b3 1-e1 3-b1 3-b4 |  |  | The methods for handling of hazardous materials and substances in accordance with organisational procedures | K9 | 1-a4 3-a2 3-b1 3-b4 | E8-1
|  | Implement organisational procedures for the safe transport and/or disposal of waste material, substances and liquids in accordance with suppliers' and manufacturers' instructions | P10 | 1-e1 3-b1 3-b4 | E8-2 D8-2 |  | The organisational procedures, suppliers' and manufacturers' instructions for safe use, maintenance, handling, transport and storage of: - tools, plant and access equipment - equipment and components - materials and substances | K10 | 3-b4 | E5-1 E8-1 D8-1
[7 empty] | The warning signs for hazardous materials and substances | K11 | 3-a2 3-b3 3-b4
[7 empty] | The methods for the safe transport and/or disposal of waste material, substances and liquids in accordance with: -organisational procedures - suppliers' and manufacturers' instructions | K12 | 3-b1 3-b4 | E8-1 D8-1
[7 empty] | The organisational procedures relevant to reporting issues relating to: - health and safety - harmful substances and material - emergencies on site | K13 | 1-e1 3-a2 3-b1 3-b4 4-c1
Return to functional map
WS002 | Establish and Maintain Relationships in the Building Services engineering sector
Refs: | BSEBSE02 - Establish and maintain relationships in the building services engineering sector
Description: | This activity is about developing and maintaining positive relationships with clients and customers associated with installation and maintenance of building services engineering systems in accordance with appropriate industry standards and regulations, the specification, working practices, the working environment and the natural environment.
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEHV05 | 8670-1 | CPC |  | You must know and understand | BSEHV05 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Estalbish & maintain relationships | Identify the clients and customers that need to be supplied with technical and functional information | P1 | 1-b3 3-a` |  | Estalbish & maintain relationships | The importance of customer service in relation to installation and/or maintenance activity | K1 | 1-b3 1-d1 3-a1 |  | A minimum of 1 instance of establishing and maintaining relationships per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Obtain the current and relevant technical and functional information that needs to be provided to the clients and customers | P2 | 1-b1 3-a1 4-ab3 | E1-4 D1-4 |  | How to identify the clients and customers that need to be supplied with technical and functional information | K2 | 1-b3 3-a1 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Provide accurate guidance and advice to the clients and customers on technical and functional matters associated with the building services engineering system that has been installed and/or maintained in terms of: - health and safety issues - safe and effective operation | P3 | 1-a1 1-b2 1-b3 1-b5 1-b6 1-e1 1-e2 3-a1 3-b3 3-b4 4-ab2 4-c1 4-c2 | E1-6 E2-1 |  | Sources of technical and functional information such as: - the specification for the building services engineering system - the specification for the installation and/or maintenance activity - the manufacturer's instructions | K3 | 4-ab3 | E1-4 E1-6 E2-1 D1-4 |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Provide information in accordance with organisational procedures | P4 | 1-a1 1-b2 1-b3 1-b5 1-b6 1-e1 1-e2 3-a1 4-ab1 4-ab2 4-c1 4-c2 | E1-6 E2-1 |  | The responsibilities of and limitations of your job role with respect to supplying technical and functional information | K4 | 1-c1 1-d1 3-a3 | E2-2 |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Demonstrate to the clients and customers, as appropriate, the operation of the building services engineering system that has been installed and/or maintained | P5 | 1-a1 1-b3 1-b5 1-b6 1-e1 1-e2 3-a1 3-b3 3-b4 4-ab2 | E1-6 |  | The technical and functional information that you are providing and its implications on the operation of the building services engineering system and/or its equipment, accessories and components that have been installed and/or maintained | K5 | 3-a1 4-ab2 | E1-6 E2-2 |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Confirm in relation to the installation and/or maintenance activity: - the client and customer expectations and requirements - the building services engineering system is in a satisfactory condition - the handover process | P6 | 1-a1 1-b1 1-b2 1-b3 1-b4 3-a1 |  |  | The organisational procedures and policies regarding the handover and demonstration of a building services engineering system and/or its equipment, accessories and components that have been installed and/or maintained | K6 | 1-e1 3-a1 3-b3 3-b4 4-ab1 4-ab2 4-c1 4-c2
|  | Establish and maintain productive working relationships with clients and customers, including dealing with disagreements in an amicable and constructive way, so that good relationships are maintained | P7 | 1-a4 1-b2 1-b3 1-b4 1-b5 1-b6 3-a1 |  |  | The operating principles, controls and setting of the building services engineering system and/or its equipment, accessories and components that have been installed and/or maintained importance of providing technical and functional information clearly, courteously and professionally | K7 | 3-a1 | E5-1
|  | Respond effectively to requests for technical and functional information from clients and customers | P8 | 1-b3 1-b4 1-b5 1-b6 3-a1 4-ab2 | E1-6 E2-1 |  | The methods and organisational procedures for establishing positive relations with clients and customers | K8 | 1-a4 1-b2 1-b3 1-b4 1-b5 1-b6 3-a1
|  | Report, record and recommend, in accordance with the organisational procedures and as appropriate, any variation to the installation and/or maintenance activity to the clients, customers and other relevant people | P9 | 1-a4 1-b2 1-b3 1-b6 1-e1 1-e2 3-a1 4-ab2 | E2-2 |  | The working requirements and practices of the clients and customers in the working environment where the installation and/or maintenance activity is taking place | K9 | 3-a1
|  | Comply with organisational standards for appearance and behaviour | P10 | 1-a2 |  |  | Which situations warrant written technical and functional information | K10 | 1-b5 1-b6 4-ab1 4-ab2 4-c1 4-c2
[7 empty] | The safety implications and operational consequences of supplying inaccurate or incomplete technical and functional information to clients and customers | K11 | 1-a1 1-a4 1-d3 1-d4 1-e1 1-e2 3-b3 3-b4 4-c1 | E1-6
[7 empty] | Methods of checking the clients' and customers' understanding of the technical and functional information provided | K12 | 1-b3 1-b5 3-a1
[7 empty] | Legislation regarding health and safety, data protection, equal opportunities and regulations that affect the way that technical and functional information is delivered to clients and customers | K13 | 3-a1
[7 empty] | The clients' and customers' rights including any contractual agreements | K14 | 3-a1

## Prepare for install activities
Return to functional map
This sheet details the competence requirements in relation to preparing for installation
- Prepare to carry out work (PFI001)
- Identify systems, equipment and components (PFI002)
- Inspect and test mechanical systems, equipment and components (PFI003)
PFI001 | Prepare to carry out work
Refs: | SUMMES07 - Prepare to carry out work
Description: | This activity is about making preparations prior to work being conducted. This includes reviewing the work locations to ensure that it is safe for work to be carried out and ensuring that all necessary checks and tests have been conducted. This includes checking the work location for any existing damage or defects prior to commencement of the work. The person carrying out this work must ensure that all the necessary preparations are made so that the work can take place safety and in accordance with current industry standards and regulations.
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | SUMMES7 | 8670-1 | CPC |  | You must know and understand | SUMMES7 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Prepare to carry out work | Carry out a review of the work location and identify factors which will impact on the work | P1 | 1-a4 |  | Prepare to carry out work | The legal duties of employers and employees for health and safety as required by the Health and Safety at Work Act 1974 and other relevant legislation appropriate to the work location (e.g. EAWR, wiring regulations, COSHH, CDM and Building Regulations) | K1 | 1-a2 1-e1 3-a1 3-a2 3-a3 | E3-1 | A minimum of 1 instance of preparing to carry out work per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Ensure that job information and documentation is current and relevant and that, where relevant, their plant, instrument, equipment, tools and data are fit for purpose, and are of the correct quantity and size | P2 | 1-a4 3-a4 |  |  | The regulations and working practices that will affect the work activity such as regulations governing design, installation, operation and routine maintenance, and their intended function | K2 | 3-a1 | E3-1 D3-1 |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Identify from job information the point(s) within the work process where liaison with other persons will be necessary and identify whom these persons will be | P3 | 1-a4 1-b2 |  |  | How to carry out an assessment of risks and plan a safety system of work with regard to the work activity | K3 | 1-a4 3-a1 3-a2 3-a3 |  |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Confirm that the relevant people have job information on all key aspects of the work | P4 | 1-a1 1-b2 1-b3 |  |  | The importance of checking that the work location is safe with regard to access, others working in that location and that permits to work are provided where required | K4 | 1-a4 3-a3 |  |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Seek authorisation from the relevant person(s) prior to commencing work that it is safe to undertake the work as specified | P5 | 1-a4 1-b2 1-b3 3-a3 |  |  | The importance of carrying out visual inspections and tests as well as reviewing the work location for planning purposes to determine the work requirements | K5 | 1-a4 |  |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Ensure that safety provisions within the immediate work location, including access to it, conform to the requirements of health and safety legislation | P6 | 1-a1 1-e1 3-a1 3-a2 3-a3 |  |  | The importance of wearing appropriate personal protective equipment (PPE) | K6 | 3-a4 | E8-1
|  | Report to the job supervisor, or line manager any pre-work damage or defects to existing equipment or building features and confirm that this existed prior to work commencing | P7 | 1-a4 1-b2 1-b3 |  |  | How to ensure that the customer is fully briefed on all aspects of the work programme | K7 | 1-a1 1-b3 1-b5
|  | Wear suitable personal protective equipment throughout preparation activities | P8 |  | E8-2 D8-2 |  | The importance of protecting property prior to starting work and identifying pre-existing damage to property and building fabric | K8
|  | Check the external condition of materials for any damage and the quantity against relevant paperwork | P9 | 1-a4 |  |  | Whether tools are fit for purpose and they have a current calibration certificate | K9
|  | Carry out preparatory work as necessary | P10 |  |  |  | How to calculate resource requirements for materials, tools and other equipment | K10 | 3-a4
[7 empty] | Secure storage procedures for tools, equipment, materials and components - basic stores procedures to ensure security and to minimise loss or wastage | K11 |  | E8-1 D8-1
[7 empty] | The implications of different working conditions on the equipment and components and/or system | K12 | 1-a4
Return to functional map
PFI002 | Identify systems, equipment and components
Refs: | SUMMES8 - Identify systems, equipment and components
Description: | This activity is about dealing with a customer, identifying their requirements and providing commercially acceptable solutions to them. It covers making any changes and alterations required by the customer throughout the work, including: - assessing the implications, impact, feasibility of alterations and changes to the system. - recognising when variations to the work programme are necessary and knowing how to go about agreeing these, and the relevant people with which to liaise
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | SUMMES8 | 8670-1 | CPC |  | You must know and understand | SUMMES8 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Idetnify systems, equipment and components | Identify and record the customer job requirements | P1 | 1-b6 3-a1 |  | Idetnify systems, equipment and components | How to obtain information from site drawings or plans | K1 | 1-b6 3-a1 5-a1 5-a4 | E1-4 E2-1 | A minimum of 1 instance of identifying systems, equipment and components per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Obtain and record information on the work location and features | P2 | 1-b6 3-a1 4-ab2 4-ab3 | E2-1 |  | How to carry out a review of the location | K2 | 3-a1 5-a4 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Identify any areas of the proposed system or components where compliance with industry requirements is necessary | P3 | 1-a4 3-a1 5-a1 5-a4 |  |  | The range of documentation detailing industry requirements | K3 | 1-b6 3-a1 5-a1 | E1-4 E2-1 |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Identify alternative system options, including environmental technologies, and taking into consideration factors such as efficiency (e.g. energy or water) | P4 | 1-a1 1-a4 | E-21 |  | How to identify possible proposals which meet the following: customer requirements, site structures and features, and industry requirements | K4 | 1-a1 1-a4 3-a1 5-a1 5-a4 |  |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Explain clearly to relevant people system options which meet identified requirements and those which offer additional benefits such as energy or water efficiency | P5 | 1-b3 1-b5 1-b6 3-a1 4-ab2 |  |  | The range of environmentally friendly materials, products, procedures and energy saving devices applicable to their work and the benefits of their use | K5 |  | E2-1 |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Obtain customer agreement to the proposal | P6 | 1-b3 1-b5 1-b6 3-a1 |  |  | How to obtain agreement from the customer to progress a selected system proposal | K6 | 1-b3 1-b5 3-a1
|  | Carry out and apply relevant calculations to determine system component requirements | P7 | 3-a1 | E2-1 |  | The range of job information that is required to develop proposals for work on new buildings and existing properties | K7 | 3-a1 | E1-4
|  | Present the system proposal in a manner which enables customer agreements | P8 | 1-b3 1-b5 1-b6 3-a1 | E1-6 |  | Positioning requirements for components within systems and standard system layouts | K8 | 3-a1 5-a4
|  | Confirm that the completed system meets requirements | P9 | 3-a1 |  |  | How to calculate the requirements of system components - size and specification | K9 | 3-a1 5-a1 | E2-1
|  | Inform the relevant person(s) immediately when changes are necessary before work can commence | P10 | 1-a4 1-b2 1-b3 1-d1 1-d2 1-d3 3-a1 3-b3 3-b4 |  |  | Methods of presenting information to customers through the use of drawings, specifications and quotations | K10 | 1-b3 1-b5 1-b6 3-a1 4-ab1 4-ab2
|  | Record and agree with the relevant person, necessary changes to the work that have cost implications and act on those changes as appropriate | P11 | 1-a4 1-b2 1-b3 1-b6 1-d1 1-d2 1-d3 3-a1 4-ab1 4-ab2 |  |  | The authority and organisational procedures at the site relevant to work plans and changes to the work plans | K11 | 1-a4 1-c1 1-d1 1-d2 1-d3 3-a1 3-b3 3-b4
[7 empty] | How to negotiate variations to work programmes, under what circumstances this might be necessary and the need to obtain written acceptance to major work or material variations and the organisational requirements for reporting changes | K12 | 1-a4 1-b2 1-b3 1-b6 1-d1 1-d2 1-d3 3-a1 4-ab1 4-ab2
Return to functional map
PFI003 | Inspect and test mechanical systems, equipment and components
Refs: | SUMMES25 - Inspect and test mechanical systems, equipment and components
Description: | This activity is about carrying out pre-commissioning checks and tests on systems. The person carrying out the work must be able to undertake the various checks and tests necessary before the system is brought into operation. This includes: - checking the operation and correct position of components - carrying out tests to ensure that there are no leaks - undertaking cleaning or flushing of the system
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | SUMMES25 | 8670-1 | CPC |  | You must know and understand | SUMMES25 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Inspect & test | Confirm that the system or components installation complies with industry requirements | P1 | 3-a1 5-a1 |  | Inspect & test | The procedures, equipment and legislative requirements for applying specified tests to systems | K1 | 3-a1 5-a1 |  | A minimum of 1 instance of inspecting and testing mechanical systems, equipment and components per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Check the input services to the system components are suited to their intended purpose | P2 | 3-a1 5-a1 5-a4 |  |  | The methods of establishing the input services adequately supply all components within the system | K2 | 3-a1 5-a1 5-a4 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Check system or components for soundness using procedures that comply with industry requirements | P3 | 3-a1 5-a1 5-a2 |  |  | The methods of connecting components to systems | K3 | 3-a1 5-a1 5-a4 |  |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Carry out pre-commissioning tests and checks in accordance with industry requirements | P4 | 3-a1 |  |  | The actions to take where pre-commissioning checks or tests reveal basic or complex system or component defects | K4 | 3-a1 |  |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Check that the system cleanliness, additives and charging comply with industry requirements | P5 | 3-a1 |  |  | How to complete pre-commissioning documentation confirming the safe pre-commissioning of systems and components | K5 | 3-a1 |  |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1

## Install ductwork activities
Return to functional map
This sheet details the competence requirements for installation of ductwork
- general ventilation ductwork (DD001)
- fire resisting ventilation ductwork (DD002)
- smoke control ductwork (DD003)
NB: DD001 is a prerequisite of DD002 and DD003
DD001 | Install and test industrial and commercial heating and ventilating ductwork systems - general ventilation ductwork
Refs: | BSEHV05 - Install and test industrial and commercial heating and ventilating ductwork systems (V02 - Final draft for consultation Feb 2025)
Description: | This activity is about installing general ventilation ductwork for industrial and commercial heating and ventilation ductwork systems. Environments may include agricultural, horticultural, leisure and entertainment, residential, medical and care facilities and public services establishments, in new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing heating and ventilating ductwork systems. This includes systems for: - supply, extract and re-circulation - low, medium and high-pressure air
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEHV05 | 8670-1 | CPC |  | You must know and understand | BSEHV05 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Installing ductwork | Verify that the job information and documentation are current and relevant and that the plant, instruments, access equipment and tools are fit for purpose | P1 | 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E1-4 D1-4 | Core ventilation knowledge | The principles of ventilation systems |  | 2-e1 3-a1 |  | A minimum of 1 instance of installation of general ventilation ductwork per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Confirm that the site services are compatible with the system's design | P2 | 2-a3 2-e2 3-a1 5-a1 5-a3 5-a4 |  |  | The importance of maintaining compartmentation in impeding fire and reducing smoke spread to protect structures and people To include: - what compartmentation is - the consequences of breaching compartments - the importance of reinstating compartmentation following installation work - the difference between protected corridors and general compartments |  | 1-e1 1-e2 2-a1 2-a2 2-a3 3-a1 3-a2 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Produce a risk assessment and method statement in accordance with organisational procedures for the work to be carried out, including the identification and use of personal protective equipment | P3 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-a2 3-b1 3-b2 3-b3 4-c1 4-c2 |  | Selecting and using resources for installation of ductwork | The operation, applications, advantages and limitations of different systems for general ventilation ductwork To include: - How classification of ducts indicates their suitability for use in different applications | K1 | 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2 |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Confirm before work starts that the work location and work area can be accessed safely and has been checked for the risk to other personnel on the site, and take appropriate action if a risk is present | P4 | 1-a4 1-b1 1-d3 1-d4 1-e1 2-e1 2-e2 3-a1 3-a2 4-c1 4-c2 |  |  | The applications, advantages and limitations of system equipment, components and accessories for general ventilation ductwork in relation to the working environment To include: - the importance of adhering to design criteria for duct supports | K2 | 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2 |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Select the equipment components and accessories to be installed ensuring that they are: - of the right type and size - fit-for-purpose - in accordance with the system's design - suitable for the working environment in which they are to be installed | P5 | 1-a4 2-e1 2-e2 3-a1 3-a3 5-a1 5-a3 5-a4 | E2-1 D2-1 D2-3 |  | Types of supporting construction and their impact on installation of ductwork |  | 2-e1 2-e2 3-a1 | D4-2 |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Determine at the outset, that the plans for positioning and fixing the equipment, components and accessories are in accordance with: - the system's design - the working environment - manufacturer instructions To include: checking that the opening through the wall or floor has been formed suitably for the required installation to take place | P6 | 1-a4 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 D2-1 D2-3 |  | The methods for determining the type and size of equipment, components and accessories for the system | K6 | 2-e1 2-e2 3-a1 3-a3 5-a1 5-a4 | E1-4 E2-1 D1-4
|  | Comply with industry practices and organisational procedures to ensure co-ordination of site services and the activities of other trades | P7 | 1-b2 1-b3 1-e1 3-a1 4-c1 |  | Installation of ductwork | The appropriate industry standards and regulations relevant to installing and testing the general ventilation ductwork systems To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K3 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E1-4 E3-1 D1-4 D3-1
|  | Measure and mark out locations for fitting and fixing the selected equipment, components and accessories in accordance with: - the system's design - manufacturer instructions | P8 | 1-a1 2-e1 2-e2 3-a1 5-a1 5-a4 | E5-1 D5-1 |  | How to verify that job information and documentation is current and relevant and that the plant, instruments, access equipment and tools are fit for purpose | K4 | 1-a4 3-a1 | E1-4 E2-1 D1-4
|  | Prepare, fit, fix and connect the selected ductwork and equipment, components and accessories using suitable jointing methods in accordance with: - the system's design - the working environment - manufacturer instructions To include: appropriate recording and labelling | P9 | 1-a1 2-e1 2-e2 3-a1 5-a1 5-a4 | E5-1 D5-1 |  | How to produce a risk assessment and method statement for the work to be carried out, including the identification and use of personal protective equipment, in accordance with: - the Hierarchy of Risk Control - the system's design - the conditions of the working environment - organisational procedures - activities of other personnel on site | K5 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-a2 3-b1 3-b2 3-b3 4-c1 4-c2
|  | Adjust, as appropriate, safety and control features of the system | P10 | 2-e1 2-e2 3-a1 3-b4 5-a1 5-a4 | E5-1 D5-1 |  | How to interpret diagrams and drawings of the system to: - locate site services - identify the planned location of the systems, equipment, components and accessories | K7 | 2-e1 2-e2 3-a1 5-a1 5-a4 | E1-4 E2-1 D1-4
|  | Carry out cleaning of the system | P11 | 2-e1 2-e2 3-a1 | E5-1 D5-1 |  | The organisational procedures for confirming, before work starts, that the work location and work area can be accessed safety and has been checked for the risk to other personnel on site, and for taking appropriate action if a risk is present | K8 | 1-a4 1-b1 1-d3 1-d4 1-e1 2-e2 3-a1 3-a2 3-b1 3-b2 3-b3 3-b4
|  | Confirm the integrity of the installed system using appropriate test procedures | P12 | 2-e1 2-e2 2-e3 3-a1 3-b4 5-a2 | E5-1 D5-1 |  | The methods, techniques and jointing methods for fitting, fixing and connecting the selected components and accessories in accordance with: - the system's design - the working environment - manufacturer instructions | K9 | 2-e1 2-e2 3-a1 | E5-1 D5-1
|  | Confirm with the relevant others - those necessary variations to the planned programme of work - the actions to be taken to ensure that any variations to the planned programme of work will minimise the potential for hazard and risk | P13 | 1-a4 1-b2 1-b3 1-c2 1-d1 1-d2 1-d3 1-d4 1-e1 3-a1 3-a2 3-b3 3-b4 4-ab1 4-ab2 | E1-2 E2-2 D1-1 |  | The appropriate test procedures for confirming the system's integrity | K10 | 2-e1 2-e2 2-e3 3-a1 5-a2 | E5-1 D5-1
|  | Implement organisational procedures for the safe transport and/or disposal of waste material, in accordance with supplier and manufacturer instructions | P14 | 1-e1 2-e1 3-a1 3-b4 | E8-2 D8-2 |  | The methods and techniques for adjusting safety and control features | K11 | 2-e1 2-e2 3-a1 3-b4 | E5-1 D5-1
[7 empty] | The methods and techniques for cleaning the system | K12 | 2-e1 2-e2 3-a1 | E5-1 D5-1
[7 empty] | The organisational procedures for confirming with relevant others the appropriate actions to be taken to ensure that any variations to the planned programme of work will not introduce a hazard and have minimum negative impact on the installation work to be undertaken | K13 | 1-a4 1-b2 1-b3 1-d1 1-d2 1-d3 1-d4 1-e1 3-a1 3-a2 3-b3
[7 empty] | How to implement organisational procedures for the safe transport and/or disposal of any waste material, substances and liquids in accordance with suppliers' and manufacturers' instructions | K14 | 1-e1 2-e1 3-a1 3-b4 | E8-1 D8-1
[7 empty] | The importance of recording and labelling installations, particularly for hidden ductwork sections |  | 1-c4 3-a1
[6 empty] | Safe working practices for installation | Organisational procedures to report and rectify inappropriate information and unsuitable resources, and how they are implemented |  | 1-b1 1-b2 1-b3 3-a2 4-ab3 | E2-2 D2-2
[7 empty] | Your responsibility to follow organisational rules about construction products |  | 1-c2 1-d1 | E1-3
[7 empty] | The limits of your authority with regards to construction products To include: - Understanding that at this level a construction product choice ,substitution or recommendation cannot be made - Knowing that if information on construction products is communicated, information must be passed on accurately and without changes from that created by the relevant authority |  | 1-c3 1-d1 1-e1 3a3 4-c1 4-c2 | E1-1 E1-2 E2-2
Return to functional map
DD002 | Install and test industrial and commercial heating and ventilating ductwork systems - fire resisting ductwork
Refs: | BSEHV05 - Install and test industrial and commercial heating and ventilating ductwork systems
Description: | This activity is about installing fire resisting ductwork for industrial and commercial heating and ventilation ductwork systems. Environments may include agricultural, horticultural, leisure and entertainment, residential, medical and care facilities and public services establishments, in new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing fire resisting ductwork systems. This includes systems for: - supply, extract and re-circulation - kitchen extract
Pre-requisites | The skills, knowledge and behaviour requirements in DD001 must also have been met
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEHV05 | 8670-1 | CPC |  | You must know and understand | BSEHV05 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
[6 empty] | Selecting and using resources for installation of fire resisting ductwork | The operation, applications, advantages and limitations of different systems for fire resisting ductwork To include: - How classification of ducts indicates their suitability for use in different applications | K1 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2 | A minimum of 1 instance of installation of fire resisting ductwork per year
[7 empty] | The applications, advantages and limitations of system equipment, components and accessories for fire resisting ductwork in relation to the working environment To include: - the importance of adhering to design criteria for duct supports | K2 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The appropriate industry standards and regulations relevant to installing and testing the fire resisting ductwork systems To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K3 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E1-4 E3-1 D1-4 D3-1
Return to functional map
DD003 | Install and test industrial and commercial heating and ventilating ductwork systems - smoke control ductwork
Refs: | BSEHV05 - Install and test industrial and commercial heating and ventilating ductwork systems
Description: | This activity is about installing smoke control ductwork for industrial and commercial heating and ventilation ductwork systems. Environments may include agricultural, horticultural, leisure and entertainment, residential, medical and care facilities and public services establishments, in new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing smoke control ductwork systems. This includes systems for: - supply, extract and re-circulation
Pre-requisites | The skills, knowledge and behaviour requirements in DD001 must also have been met
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEHV05 | 8670-1 | CPC |  | You must know and understand | BSEHV05 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
[6 empty] | Selecting and using resources for installation of smoke control ductwork | The role and importance of smoke control ductwork |  | 3-a1 5-a1 5-a4 |  | A minimum of 1 instance of installation of smoke control ductwork per year
[7 empty] | The operation, applications, advantages and limitations of different systems for smoke control ductwork To include: - How classification of ducts indicates their suitability for use in different applications | K1 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The applications, advantages and limitations of system equipment, components and accessories for smoke control ductwork in relation to the working environment To include: - the importance of adhering to design criteria for duct supports | K2 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The appropriate industry standards and regulations relevant to installing and testing the smoke control ductwork systems To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K3 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E1-4 E3-1 D1-4 D3-1

## Install FSCD dampers activities
Return to functional map
This sheet details the competence requirements for installation and testing of fire and smoke control dampers
- mechanical fire dampers (DD004)
- intumescent (non-mechanical) fire dampers (DD005)
- smoke control dampers in shafts, compartment barriers & smoke control ducts (DD006)
NB: DD004 is a prerequisite of DD005 and DD006
DD004 | Install and test mechanical fire dampers
Refs: | BSEFSD01 - Install and test fire dampers and smoke control dampers
Description: | This activity is about installing mechanical fire damper devices to maintain compartmentation where ventilation systems (ducts) pass through compartment boundaries. This includes verification of function as per system design, application and operation. This applies in both domestic and non-domestic work environments, new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing and testing mechanical fire dampers. This work must be in accordance with the current versions of the appropriate industry standards and regulations; the specification; industry recognised working practices; the working environment and the natural environment. They must know and understand the methods, procedures and techniques for fitting, fixing and connecting components and accessories of the systems.
Pre-requisites | None
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEFSD01 | 8670-1 | CPC |  | You must know and understand | BSEFSD01 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
| Installation of fire and smoke dampers | Verify that the job information and documentation are current and relevant and that the plant, instruments, access equipment and tools are fit for purpose | P1 | 2-a3 2-e1 2-e2 3-a1 | E1-4 D1-4 | Core damper knowledge | The principles and practice of fire dampers and ventilation systems | K5 | 2-a1 2-a2 2-a3 3-a1 |  | A minimum of 5 instances of installation of a fire damper per year | Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
|  | Confirm that site services are compatible with the system design | P2 | 2-a3 2-e2 3-a1 |  |  | The relationship of fire damper devices with other means of firestopping and alternative methods | K8 | 2-a1 2-a2 2-a3 3-a1 |  |  |  | Work effectively individually and as part of a team | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3 | 0
|  | Produce a risk assessment and method statement in accordance with organisational procedures for the work to be carried out, including the identification and use of personal protective equipment | P3 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-a2 3-b1 3-b2 3-b3 3-b4 4-c1 4-c2 |  |  | Fire safety in buildings, human behaviour and escape requirements, principles of fire chemistry and physics, including ignition and heat transfer | K21 | 2-a1 3-a1 |  |  |  | Challenge unsafe behaviours and activities, reporting them where necessary | 1-a1 1-a4 1-d3 3-a3 | 0
|  | Confirm before work starts that the work location and work area can be accessed safely and has been checked for the risk to other personnel on site, and take appropriate action if a risk is present | P4 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-a2 3-b1 3-b2 3-b3 3-b4 |  |  | The importance of maintaining compartmentation in impeding fire and reducing smoke spread to protect structures and people To include: - what compartmentation is - the consequences of breaching compartments - the importance of reinstating compartmentation following installation work - the difference between protected corridors and general compartments |  | 1-b6 1-e1 1-e2 2-a1 2-a2 2-a3 2-b1 2-b2 2-e1 3-a1 |  |  | Installation & maintenance behaviours | Work in accordance with quality requirements and challenge where they are not being met | 1-a1 1-a4 1-d3 3-a2 5-a2 | 0
|  | Select the equipment, components and accessories to be installed, ensuring they are: - of the right type and size - fit-for-purpose - in accordance with the system's design - suitable for the working environment in which they are to be installed To include: reporting back any identified concerns over damper type and model | P5 | 1-a4 2-a3 2-e1 2-e2 3-a1 3-a4 5-a1 5-a4 | E2-1 D2-1 D2-3 |  | The difference between fire and smoke control dampers |  | 2-a1 3-a1 5-a1 5-a4 |  |  |  | Undertake defined personal development activities to maintain currency of competence | 1-b2 1-c2 | E9-1
|  | Determine at the outset that the plans for positioning and fixing the equipment, components and accessories are in accordance with: - the system's design - the working environment - manufacturer instructions To include: checking that the opening through the wall or floor has been formed suitably for the required installation to take place | P6 | 1-a4 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 D2-1 D2-3 | Selecting and using resources for installation of dampers | The operation, applications, advantages and limitations of different mechanical fire damper devices To include: how classification of dampers indicates their suitability for use in different applications | K9 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
|  | Comply with industry practices and organisational procedures to ensure the co-ordination of site services and the activities of other trades | P7 | 1-b2 1-b3 1-e1 3-a1 4-c1 |  |  | The applications, advantages and limitations of system equipment, components and accessories for mechanical fire dampers in relation to the working environment To include: the importance of adhering to design criteria for damper supports | K10 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
|  | Measure and mark out locations for fitting and fixing selected equipment, components and accessories, in accordance with: - the system design - the working environment - manufacturer instructions | P8 | 1-a1 2-a3 2-e1 2-e2 3-a1 | E5-1 D5-1 |  | Types of supporting construction and their impact on installation of dampers |  | 2-a1 2-e1 2-32 3-a1 5-a1 5-a4 | D4-2
|  | Prepare, fit, fix and connect the device equipment, components and accessories using suitable jointing methods, in accordance with: - the system design - the working environment - manufacturer instructions To include: appropriate recording and labelling | P9 | 1-a1 2-a3 2-e1 2-e2 3-a1 | E5-1 D5-1 | Installation of fire and smoke dampers | The methods for determining the type and size of equipment, components and accessories for the system | K15 | 2-e2 3-a1 3-a4 5-a1 5-a4 | E1-4 E2-1 D1-4
|  | Adjust, as appropriate, safety and control features of the system | P10 | 2-a3 2-e1 2-e2 3-a1 | E5-1 D5-1 |  | The current legislation, guidelines, policies, procedures and protocols which are relevant to your work practice and to which you must adhere | K1 | 2-a3 2-b1 2-e1 3-a1 4-ab1 | E1-4 E3-1 D1-4 D3-1
|  | Confirm the integrity of the installed system using appropriate functionality tests | P11 | 2-a3 2-e1 2-e2 3-a1 5-a2 5-a4 | E5-1 D5-1 |  | The scope and limitations of your own competence, responsibilities and accountability and it applies to your job role | K2 | 1-c1 3-a1 3-a3
|  | Confirm with relevant others: - those necessary variations to the planned programme of work - the correct actions to be taken to ensure that any variations to the planned programme of work will minimise the potential for hazard and risk | P12 | 1-a4 1-b2 1-b3 1-c2 1-d1 1-d2 1-d3 1-d4 1-e1 3-a1 3-a2 3-b3 3-b4 4-ab1 4-ab2 | E1-2 E2-2 D1-1 |  | The appropriate industry standards and regulations relevant to installing and testing mechanical fire dampers To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K11 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E2-2 E3-1 D1-4 D3-1
|  | Implement organisational procedures for the safe transport and/or disposal of waste material, in accordance with suppliers' and manufacturers' instructions | P13 | 1-e1 2-e1 3-a1 3-b4 | E8-2 D8-2 |  | The fire strategy, compartmentation requirements and fire penetration seal requirements relevant to the damper | K12 | 2-a3 2-e1 2-e2 3-a1 3-b3 | E1-4 D4-1 D4-2
|  | Comply with organisational procedures for: - completion of the relevant documentation - the recording of relevant data and information - informing relevant others - addressing issues and problems identified | P14 | 1-b2 1-b3 1-b6 2-b1 3-a1 4-ab1 4-ab2 4-c1 |  |  | How to verify that job information and documentation is current and relevant and that the plant, instruments, access equipment and tools are fit for purpose | K13 | 1-a4 2-e2 3-a1 | E1-4 E2-1
[7 empty] | How to produce a risk assessment and method statement for the work to be carried out, including the identification and use of personal protective equipment, in accordance with: - the system design - the conditions of the working environment - organisational procedures - activities of other personnel on site | K14 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-a2 3-b1 3-b2 3-b3 4-c1 4-c2
[7 empty] | How to interpret diagrams and drawings of the system to: - locate site services - identify the planned location of the system equipment, components and accessories | K16 | 2-e2 3-a1 5-a1 5-a4 | E1-4 E2-1 D1-4
[7 empty] | The organisational procedures for confirming, before work starts, that the work location and work area can be accessed safely and has been checked for the risk to other personnel on the site, and for taking appropriate action if a risk is present | K17 | 1-a4 1-b1 1-d3 1-d4 1-e1 3-a1 3-b1 3-b2 3-b3 3-b4
[7 empty] | The methods, techniques and jointing methods for fitting, fixing and connecting the selected device, equipment, components and accessories in accordance with: - the system design - the working environment - manufacturer instructions | K18 | 2-e1 2-e2 3-a1 | E5-1 D5-1
[7 empty] | The appropriate testing procedures for confirming the system integrity | K19 | 2-e2 2-e3 3-a1 5-a2 | E5-1 D5-1
[7 empty] | The methods and techniques for adjusting safety and control features | K20 | 2-a3 2-e2 3-a1 3-b3 3-b4 | E5-1 D5-1
[7 empty] | The use of independent supports | K23 | 2-e2 3-a1
[7 empty] | How to co-ordinate site services and the activities of other trades including those relating to firestopping and penetration seals | K24 | 1-b2 1-b3 3-a1
[7 empty] | The organisational procedures for confirming with the relevant others the appropriate actions to be taken to ensure that any variations to the planned programme of work will not introduce a hazard and have minimum negative impact on the installation work to be undertaken | K25 | 1-a4 1-b2 1-b3 1-d1 1-d2 1-d3 1-d4 1-e1 3-a1 3-b3 3-b4 4-ab1 4-ab2
[7 empty] | How to implement organisational procedures for the safe transport and/or disposal of any waste material, substances and liquids in accordance with suppliers' and manufacturers' instructions | K26 | 1-e1 2-e1 3-a1 3-b4 | E8-2 D8-2
[7 empty] | The organisational procedures for: - completion of the relevant documentation - the recording of relevant data and information - informing relevant others - addressing issues and problems identified To include: the importance of recording and labelling installations | K27 | 2-b1 3-a1 4-ab1 4-ab2 4-c1 4-c2
[6 empty] | Safe working practices for damper installation | Specific procedures for reporting issues which are beyond your competence, responsibilities and accountability | K3 | 1-c1 3-a1 3-a3
[7 empty] | The duty to report any acts or omissions that could be unsafe / detrimental to you or others | K4 | 1-a1 1-b1 1-e1 3-a1 3-a2 3-a3 4-ab3 4-c1
[7 empty] | Behavioural competence, the ethical principles to promote safe outcomes, with respect for life, the law, environment and public good | K22 | 1-a1
[6 empty] | Safe working practices for ductwork and damper installation | Organisational procedures to report and rectify inappropriate information and unsuitable resources, and how they are implemented To include: procedures for reporting back concerns over damper type and/or model |  | 1-b1 1-b2 1-b3 3-a1 3-a2 4-ab3
[7 empty] | Your responsibility to follow organisational rules about construction products |  | 1-c2 1-d1 3-a3 | E1-3
[7 empty] | The limits of your authority with regards to construction products To include: - Understanding that at this level a construction product choice ,substitution or recommendation cannot be made - Knowing that if information on construction products is communicated, information must be passed on accurately and without changes from that created by the relevant authority |  | 1-c3 1-d1 1-e1 3-a3 4-c3 | E1-1 E1-2 E2-2
Return to functional map
DD005 | Install and test intumescent non-mechanical fire dampers
Refs: | BSEFSD01 - Install and test fire dampers and smoke control dampers
Description: | This activity is about installing intumescent (non-mechanical) fire damper devices to maintain compartmentation where ventilation systems (ducts) pass through compartment boundaries. This includes verification of function as per system design, application and operation. This applies in both domestic and non-domestic work environments, new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing and testing non-mechanical fire dampers. This work must be in accordance with the current versions of the appropriate industry standards and regulations; the specification; industry recognised working practices; the working environment and the natural environment. They must know and understand the methods, procedures and techniques for fitting, fixing and connecting components and accessories of the systems.
Pre-requisites | The skills, knowledge and behaviour requirements in DD004 must also have been met
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEFSD01 | 8670-1 | CPC |  | You must know and understand: | BSEFSD01 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
[6 empty] | Selecting and using resources for installation of intumescent (non-mechanical) fire dampers | The operation, applications, advantages and limitations of different intumescent (non-mechanical) fire damper devices To include: how classification of dampers indicates their suitability for use in different applications | K9 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2 | A minimum of 5 instances of installation of an intumescent damper per year
[7 empty] | The applications, advantages and limitations of system equipment, components and accessories for intumescent (non-mechanical) fire dampers in relation to the working environment To include: the importance of adhering to design criteria for damper supports | K10 | 2-a1 2-a2 2-a3 2-e1 2-e2 5-a1 5-a4 3-a1 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The appropriate industry standards and regulations relevant to installing and testing intumescent (non-mechanical) fire dampers To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K11 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E2-2 D1-4
Return to functional map
DD006 | Install and test smoke control dampers in shafts, compartment barriers & smoke control ducts
Refs: | BSEFSD01 - Install and test fire dampers and smoke control dampers
Description: | This activity is about installing smoke control damper devices to maintain compartmentation where ventilation systems (ducts) pass through compartment boundaries. This includes verification of function as per system design, application and operation. This applies in both domestic and non-domestic work environments, new-build construction or in existing buildings or structures. The person performing this work must be able to comply with the correct procedures and practices for installing and testing smoke control dampers. This work must be in accordance with the current versions of the appropriate industry standards and regulations; the specification; industry recognised working practices; the working environment and the natural environment. They must know and understand the methods, procedures and techniques for fitting, fixing and connecting components and accessories of the systems.
Pre-requisites | The skills, knowledge and behaviour requirements in DD004 must also have been met
|  | Skills | Mapping |  |  |  | Knowledge | Mapping |  |  | Experience |  | Behaviour | Mapping
|  | You must be able to: | BSEFSD01 | 8670-1 | CPC |  | You must know and understand | BSEFSD01 | 8670-1 | CPC | You must evidence: |  | You must show that you: | 8670-1 | CPC
[6 empty] | Core smoke control knowledge | The principles and practice of smoke control dampers and smoke control systems | K6 | 2-a1 2-a2 2-a3 3-a1 |  | A minimum of 5 instances of installation of a smoke control damper per year
[7 empty] | the principles and practice of combined ventilation and smoke control systems | K7 | 2-a1 2-a2 2-a3 3-a1
[7 empty] | The relationship of smoke control damper devices with other means of firestopping and alternative methods | K8 | 2-a1 2-a2 2-a3 3-a1 5-a1 5-a4
[6 empty] | Selecting and using resources for installation of smoke control dampers | The operation, applications, advantages and limitations of different smoke control damper devices To include: how classification of dampers indicates their suitability for use in different applications | K9 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The applications, advantages and limitations of system equipment, components and accessories for smoke control dampers in relation to the working environment To include: the importance of adhering to design criteria for damper supports | K10 | 2-a1 2-a2 2-a3 2-e1 2-e2 3-a1 5-a1 5-a4 | E2-1 E2-2 E2-3 D2-1 D2-3 D4-1 D4-2
[7 empty] | The appropriate industry standards and regulations relevant to installing and testing smoke control dampers To include: - hazards to health and environment - use of construction products (general product safety & safety critical products) - consequences of not operating within requirements | K11 | 2-b1 2-b2 2-e1 2-e2 2-e3 | E2-2 D1-4

## Behavioural descriptors
Return to functional map
| Behaviour | Indicators / description | Mapping
|  |  | 8670-1 | CPC
Effective working behaviours | Work within limits of defined capability and know when to seek advice from others | The individual understands what they are competent to do and what they are not competent to do. They seek advice from a supervisor if work they have been asked to do is outside their capability or if they are unsure about how to proceed. | 1-a1 1-a4 1-c1 1-d1 3-a3 | E1-1 E1-2 E1-3
| Work effectively individually and as part of a team | The individual is able to take responsibility for their own actions and works with the rest of their team to get the job done. They manage their own time effectively, identify and manage risks to themselves and other members of the team, keep their work area clean and tidy, comply with organisational requirements and procedures, and communicate effectively through oral, written or electronic means as appropriate. | 1-a1 1-a4 1-b2 1-b3 1-d3 1-e1 3-b3
| Undertake defined personal development activities to maintain currency of competence | The individual keeps up to date with any personal development activities required, ensuring that their skills, knowledge and experience remain up to date. | 1-b2 1-c2 | E9-1
Installation & maintenance behaviours | Challenge unsafe behaviours and activities, reporting them where necessary | The individual identifies potentially unsafe behaviours or activities, challenging these and bringing these to the attention of supervisors or others where needed. They put health, safety and well-being first. | 1-a1 1-a4 1-d3 3-a3
| Work in accordance with quality requirements and challenge where they are not being met | The individual identifies where quality requirements are not or may not be being met and raises this with their supervisor. | 1-a1 1-a4 1-d3 3-a2 5-a2

## 8670 mapping
Return to functional map
Consolidated mapping to BS 8670-1
|  |  | Prepare for install |  |  | Work safely |  | Install ductwork |  |  | Install FSCD
|  |  | PFI001 | PFI002 | PFI003 | WS001 | WS002 | DD001 | DD002 | DD003 | DD004 | DD005 | DD006
Pre-requisites |  |  | - | - | - | - | - | - | DD001 | DD001 | - | DD004 | DD004
Table 1 - behavioural competence
a) Act ethically and contribute to safe outcomes | 1-a1 | Ethical principles to promote safe outcomes, including: i) respect for life, the law, environment and public good; ii) honesty and integrity; iii) accuracy and rigour; and iv) responsibility for direction, conduct and communication | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-a2 | Follow relevant codes or standards of conduct | yes | no | no | yes | yes | no | no | no | no | no | no
| 1-a3 | Respect for diversity and principles of inclusivity | bar: Prepare for install PFI001 to Install FSCD DD006
| 1-a4 | Application of sound judgement including anticipating, identifying, analysing and solving problems to support safe and effective outcomes | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
b) Demonstrate effective leadership, teamwork and communication as an individual or as a member of a team: • demonstrate a commitment to strong safety culture; • collaborate effectively and collectively, as part of a team; and • communicate effectively | 1-b1 | Visible commitment at all levels to a strong safety culture | no | no | no | yes | yes | yes | no | no | yes | no | no
| 1-b2 | Collaboration with others and effective teamworking skills | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-b3 | Effective communication within and between teams, organisations and individuals | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-b4 | Listening and feeding back effectively | no | no | no | yes | yes | no | no | no | no | no | no
| 1-b5 | Communicating technical information to non-technical audiences | yes | yes | no | no | yes | no | no | no | no | no | no
| 1-b6 | Communicating effectively through use of oral, written, drawn, digital or graphic information in accessible formats | no | yes | no | yes | yes | no | no | no | yes | no | no
c) Manage individual and contribute to organisational competence: • manage own competence; • manage competence of others where appropriate; and • maintain competence and contribute to learning culture | 1-c1 | Acting within limits of own competence (particularly in relation to building safety) and seeking further appropriate advice where necessary | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-c2 | Maintaining competence including undertaking self-assessment and personal development activities | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-c3 | Managing competence of others including fulfilling dutyholder obligations when making appointments or allocating tasks within teams | no | no | no | no | no | yes | no | no | yes | no | no
| 1-c4 | Recording, monitoring, analysing and acting to improve outcomes as part of a learning culture | no | no | no | no | no | yes | no | no | no | no | no
d) Demonstrate personal responsibility and accountability • understand personal role and responsibilities with particular reference to safety; • accept and manage accountability for individual actions; and • understand responsibility and accountability for collective actions | 1-d1 | Responsibility for own actions and for the actions of those under their supervision or direction | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-d2 | Managing boundaries / interfaces of responsibility and communicating these effectively to others | no | yes | no | no | no | yes | no | no | yes | no | no
| 1-d3 | Anticipating, identifying and challenging unsafe or inappropriate behaviours and escalating concerns through reporting or whistleblowing mechanisms | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-d4 | Identifying and providing feedback on unsafe process, equipment, procedures, construction products, building systems, standards or quality | no | no | no | yes | yes | yes | no | no | yes | no | no
e) Understand and respect duty of care to others, including to: • public and building occupants (including residents); • co-workers; and • persons outside the project team and respond to reported risks or concerns | 1-e1 | Duties and obligations to act in protecting safety of self, colleagues and the public | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 1-e2 | Duty of care to occupants including residents, first responders and people in and around buildings in use | no | no | no | no | yes | yes | no | no | yes | no
| 1-e3 | Consultatng, listening to and engaging with occupants or others who are or could be affected by work (including older and disabled people) and responding appropriately | bar: Prepare for install PFI001 to Install FSCD DD006
Table 2 - Fire safety, structural safety and public safety
a) Understand and contribute to the development and application of fire strategies, practices and technological systems in buildings | 2-a1 | Foundation principles of fire safety, including: i) principles of fire chemistry and physics, including ignition and heat transfer; ii) the influence of structure, construction product selection and building systems on fire safety performance; iii) human behaviour and escape requirements; and iv) methods of fire suppression and how to limit fire growth and spread | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-a2 | Fire safety design concepts and strategies that enable safe use and occupancy of a building including integration of principles of inclusive design | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-a3 | Prevention, mitigation and control functionalities of fire protection technologies and systems that detect, alert, confine fire growth and effluents, suppress ignition and fire, ventilate and secure escape or reduce fire spread; and reduce risks involved in firefighting and rescue | no | no | no | no | no | yes | yes | yes | yes | yes | yes
b) Understand and contribute to fire safety in buildings through legislative controls: • design for fire safety; and • construct and install in line with compliant design intent | 2-b1 | Regulatory and legal framework to protect people and property from fire through fire safety requirements including statutes, building regulations / standards and advisory documentation | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-b2 | Statutory requirements; to aid warning and escape; for facilities to enable access and intervention by fire and rescue services; for containment of fire and to support extinction | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-b3 | Requirements for exchange of fire safety information | bar: Prepare for install PFI001 to Install FSCD DD006
c) Contribute to fire safety in buildings during occupation | 2-c1 | Requirements for audits, inspections and risk assessments so that means of escape and fire protection systems in buildings (including physical and technological means) remain available throughout a building's life, appropriate to occupancy, use, construction and level of fire risk | bar: Prepare for install PFI001 to Install FSCD DD006
| 2-c2 | Maintaining compartmentation and sustaining the function of fire protection systems during occupation and when undertaking works in existing buildings | bar: Prepare for install PFI001 to Install FSCD DD006
d) Contribute to design, construction and maintenance activities to achieve structural safety of buildings throughout their lifecycle | 2-d1 | Key principles of structural design and construction, including characteristics of structural systems and their behaviours under load and in the event of fire | bar: Prepare for install PFI001 to Install FSCD DD006
| 2-d2 | Provisions of building regulations, codes and standards in relation to structural stability of primary structure, secondary structure and fixings | bar: Prepare for install PFI001 to Install FSCD DD006
| 2-d3 | Requirements for maintaining structural safety including instructing, planning or undertaking assessment, inspection, or maintenance tasks | bar: Prepare for install PFI001 to Install FSCD DD006
| 2-d4 | How and when to respond to events which can affect structural safety including how to procure competent specialist advice when necessary | bar: Prepare for install PFI001 to Install FSCD DD006
e) Contribute to establishing and maintain public health and public safety in buildings | 2-e1 | Compliance with all relevant provision of building regulations or applicable codes / standards for public health and public safety (see BS 8670-1 for breakdown of relevant legislation) | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-e2 | Management, maintenance, installation or replacement requirements for construction products or building systems necessary to protect public health and public safety | no | no | no | no | no | yes | yes | yes | yes | yes | yes
| 2-e3 | Inspection, assessment, testing and monitoring requirements relating to public health and public safety | no | no | no | no | no | yes | yes | yes | yes | yes | yes
Table 3 - Managing building safety
a) Understand and, where relevant, fulfil roles, responsibilities and duties critical to building safety | 3-a1 | Interaction with or fulfilment of duty-holding roles (see BS 8670-1 for list) | yes | yes | yes | no | yes | yes | yes | yes | yes | yes | yes
| 3-a2 | Obligations to raise, escalate or flag risks to life safety during the design, manufacture, construction, maintenance or management process including whistleblowing and mandatory reporting regimes | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 3-a3 | Boundaries of responsibility including the scope of the specific building safety responsibilities or systems under own control | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
b) Understand and contribute to relevant risk assessment processes and activities, including: • risk assessments, including for fire and structural safety • safety case development • design risk management • major incident plans • occupants' and residents' information • residents' engagement plans |  | Control measures to mitigate risk posed by threats to life safety:
| 3-b1 | Identify risks and safety issues; | no | no | no | yes | no | yes | no | no | yes | no | no
| 3-b2 | Gather, analyse, use and share data to inform risk assessment; | no | no | no | yes | no | yes | no | no | yes | no | no
| 3-b3 | Use risk assessment process and information to guide actions, decisions and activities; | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 3-b4 | Develop and implement control measures to mitigate risks posed to safety throughout the building lifecycle | no | yes | no | yes | yes | yes | no | no | yes | no | no
c) Manage building safety in occupation, operation, installation and maintenance and refurbishment, including evaluating the requirements of occupants and engaging effectively with them | 3-c1 | Good housekeeping and fire safety practices amongst residents | bar: Prepare for install PFI001 to Install FSCD DD006
| 3-c2 | Information, training and education on building safety matters to community and residents as required and in accessible formats | bar: Prepare for install PFI001 to Install FSCD DD006
| 3-c3 | Control of factors affecting building fabric or building systems to maintain fire protection and compartmentation and prevent fire spread | bar: Prepare for install PFI001 to Install FSCD DD006
| 3-c4 | Interaction between building users / residents and building safety taking into account human factors | bar: Prepare for install PFI001 to Install FSCD DD006
d) Contribute to safe practice in procurement and operational management activities, including pricing, purchasing and contracting so as to prevent building safety outcomes and performance being compromised by decisions about cost or by commercial considerations | 3-d1 | Safety implications of procurement pathways, cost management, pricing, purchasing, change control and product selection taking into account: i) impact of client instructions and procurement decisions on holistic building safety performance ii) use of alternative construction products, solutions or building systems with potential to affect holistic building safety; and iii) mitigating actions to avoid building safety being adversely affected by cost, management, specification or commercial decisions | bar: Prepare for install PFI001 to Install FSCD DD006
| 3-d2 | Checking building safety competence of persons undertaking activities linked to safety during specification, design, construction, occupation, operation, installation, maintenance, refurbishment, demolition and necessary mitigating actions | bar: Prepare for install PFI001 to Install FSCD DD006
e) Understand requirements for insurance, warranty or other protections, including those enabling routes of recourse to address building safety defects | 3-e1 | Public, professional, property, construction product and business insurance | bar: Prepare for install PFI001 to Install FSCD DD006
| 3-e2 | Warranties or guarantees on construction products, building systems or building work | bar: Prepare for install PFI001 to Install FSCD DD006
Table 4 - Knowledge management and communication
a) Contribute to the recording of, development, collection, organisation, and sharing of information about the building's design, construction, operation, maintenance and refurbishment throughout the building lifecycle to preserve up-to-date critical building safety information, e.g. the golden thread of information b) Obtain, record, update, share, safeguard and keep secure information about the building described in a) | 4-ab1 | Requirements for documented building safety information at a project, premises and organisational level | no | yes | no | yes | yes | yes | no | no | yes | no | no
| 4-ab2 | Capture, issue and maintain life safety information; identify records that should be kept and how those should be retained; obtain and manage access to life safety information; maintain the golden thread of information, including (but not limited to)... (see BS 8670-1 for list) | no | yes | no | yes | yes | yes | no | no | yes | no | no
| 4-ab3 | Research to obtain information, or identify and highlight missing information, relevant to building safety, especially in existing buildings | no | yes | no | no | yes | yes | no | no | yes | no | no
| 4-ab4 | Requirements for information to be available to building occupants including residents, visitors and staff | bar: Prepare for install PFI001 to Install FSCD DD006
| 4-ab5 | Implementation of security minded practices in managing information | bar: Prepare for install PFI001 to Install FSCD DD006
c) Effectively communicate issues relating to risk or safety with occupants including residents, clients and members of the project or management teams | 4-c1 | Requirements / obligations and duties for transparency regarding the provision of building safety information, communication, consultation and response to occupants (including residents), emergency services or persons otherwise affected by building and building work, such as dutyholders, clients and project team members | no | no | no | yes | yes | yes | no | no | yes | no | no
| 4-c2 | Balanced, proportionate and factual explanation of where risks to life safety have been identified, the potential consequences, and need for clear recommendations for mitigating measures | no | no | no | yes | yes | yes | no | no | yes | no | no
Table 5 - Buildings as systems, building systems and construction products
a) Coordinate building design, management or construction activities to ensure holistic building safety | 5-a1 | Appropriate selection for intended use so that construction products and building systems function individually and together to maintain building safety and consider buildings as holistic systems | no | yes | yes | no | no | yes | yes | yes | yes | yes | yes
| 5-a2 | Impact of installation quality on construction product and building system performance and need for quality assurance and quality management processes | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
| 5-a3 | Requirements for construction product durability over time taking building use into account | no | no | no | no | no | yes | no | no | no | no | no
| 5-a4 | Take into account location and context in construction product performance and selection, e.g. proximity to boundary, boundary conditions (fire resistance, water resistance), size, distance, environmental considerations, geometry | no | yes | yes | no | no | yes | yes | yes | yes | yes | yes
b) Understand construction products, and building system characteristics, and utilise testing, assessment and maintenance information and procedures to minimise risks to safety throughout the building lifecycle | 5-b1 | Use of construction product or building system testing information including certification, classification and industry-approved or industry-recognised standards (alongside as-built design and construction information on existing buildings), to inform design, specification, construction, installation and management decisions | bar: Prepare for install PFI001 to Install FSCD DD006
| 5-b2 | Maintenance requirements for construction products and building systems through the building lifecycle, including planning, procuring, monitoring, undertaking or managing maintenance of building fabric, fire protection or life safety systems | bar: Prepare for install PFI001 to Install FSCD DD006
| 5-b3 | Replacement (and safe disposal) of construction products and building systems at the end of their lifecycle to maintain building safety | bar: Prepare for install PFI001 to Install FSCD DD006
| 5-b4 | Procedures for notification of building operators, suppliers and manufacturers where defects or maloperation issues are found in construction products or building systems which impact on building safety | bar: Prepare for install PFI001 to Install FSCD DD006

## CPC E mapping
Return to functional map
Consolidated mapping to CPC whitepaper [Level E]
|  |  | Prepare for install |  |  | Work safely |  | Install ductwork |  |  | Install FSCD
|  |  | PFI001 | PFI002 | PFI003 | WS001 | WS002 | DD001 | DD002 | DD003 | DD004 | DD005 | DD006
Pre-requisites |  |  | - | - | - | - | - | - | DD001 | DD001 | - | DD004 | DD004
Responsibility & accountability
E1-1 | Hierarchy of competence | Recognise the organisation's construction products competence hierarchy and how to operate within it | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
E1-2 | Scope of selecting and proposing construction products | Understand that at this level you cannot make a construction product choice, substitution or recommendation | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
E1-3 | Responsibilities and accountabilities regarding organisational rules | Understand your responsibility to follow organisational rules about construction products | yes | yes | yes | yes | yes | yes | no | no | yes | no | no
E1-4 | Levels of information necessary to perform tasks with construction products without making assumptions | Follow the organisation's rules on levels of information needed to supply or use a construction product or product information without making assumptions | no | yes | no | yes | yes | yes | yes | yes | yes | no | no
E1-6 | Communicating information on construction products | Know that it is your responsibility to accurately reflect the construction product(s) according to the relevant competent information or authority and not go beyond that | no | yes | no | no | yes | no | no | no | no | no | no
Construction product performance and characteristics
E2-1 | Construction products and their application | Recognise the requirement for a construction product, locate information from approved sources and recite what the construction product is, what it is made of, its performance and characteristics | no | yes | no | no | yes | yes | yes | yes | yes | yes | yes
E2-2 | Content of product information management | Duplicate and relay product information and identify missing product information, where appropriate seeking guidance for resolution | no | no | no | no | yes | yes | yes | yes | yes | yes | yes
E2-3 | Scopes and limitations | Identify and recite construction product limitations and scope | no | no | no | no | no | yes | yes | yes | yes | yes | yes
Regulations, standards and certification
E3-1 | Regulatory oversight | Be aware that there is a framework of legislation, regulations and standards that should be worked to when using construction products and the consequences of not operating within these requirements | yes | no | no | no | no | yes | yes | yes | yes | no | no
E3-4 | Verifying product information | Be aware of the Code for Construction Product Information and how it is utilised | bar: Prepare for install PFI001 to Install FSCD DD006
E3-5 | Conformity marking | Be aware that the CE / UKCA / UKNI marks demonstrate that the manufacturer has declared a performance level against required characteristics | bar: Prepare for install PFI001 to Install FSCD DD006
E3-6 | Absence of conformity marking | Be aware that not all construction products can be conformity marked | bar: Prepare for install PFI001 to Install FSCD DD006
E3-7 | Third party certification | Be aware that third party certification schemes assure a stated level of performance for certain characteristics | bar: Prepare for install PFI001 to Install FSCD DD006
E3-8 | Test reports | Be aware that certain construction products are supported by direct test reports | bar: Prepare for install PFI001 to Install FSCD DD006
Installation
E5-1 | Installation information | Recite and relay installation methods according to the relevant competent information or authority | no | no | no | yes | yes | yes | no | no | yes | no | no
Durability, service life and maintenance
E6-1 | Consideration for durability, service life and maintenance requirements | Know that construction products will have maintenance requirements and where to find them | bar: Prepare for install PFI001 to Install FSCD DD005
E6-2 | Setting durability, service life and maintenance requirements | Recite and relay maintenance requirements according to the relevant competent information or authority | bar: Prepare for install PFI001 to Install FSCD DD006
Warranties and guarantees
E7-2 | Communicating warranties and guarantees | Identify whether the product comes with a warranty or guarantee, and relay product information without interpretation (In this context, warranties and guarantees are limited to those extending to construction products, built environment systems and workmanship) | bar: Prepare for install PFI001 to Install FSCD DD006
Storage and handling
E8-1 | Information for storage and handling | Recite and relay storage and handling requirements according to the relevant competent information on authority | yes | no | no | yes | no | yes | no | no | no | no | no
E8-2 | Actions of storage and handling | Follow storage and handling requirements according to the relevant competent information or authority | yes | no | no | yes | no | yes | no | no | yes | no | no
Competence and maintenance
E9-1 | Personal competence | Demonstrate a commitment to ongoing learning and development, undergo periodic review of competence and undertake training and development as required | yes | yes | yes | yes | yes | yes | no | no | yes | no | no

## CPC D mapping
Return to functional map
Consolidated mapping to CPC whitepaper [Level D]
|  |  | Prepare for install |  |  | Work safely |  | Install ductwork |  |  | Install FSCD
|  |  | PFI001 | PFI002 | PFI003 | WS001 | WS002 | DD001 | DD002 | DD003 | DD004 | DD005 | DD006
Pre-requisites |  |  | - | - | - | - | - | - | DD001 | DD001 | - | DD004 | DD004
Responsibility & accountability
D1-1 | Hierarchy of competence | Understand the organisation's construction products competence hierarchy and how to obtain advice and raise concerns as appropriate within it | no | no | no | no | no | yes | no | no | yes | no | no
D1-2 | Scope of selecting and proposing construction products | Understand that at this level that you may propose alternative products within direct scope of application meeting the stated requirements but cannot make a product selection or substitution recommendation as this incurs a design responsibility | bar: Prepare for install PFI001 to Install FSCD DD006
D1-3 | Responsibilities and accountabilities regarding organisational rules | Understand your responsibility to follow organisational rules to achieve built environment safety, balanced value assessment and support for early supply chain engagement and collaboration, together with minimising personal and organisational liability and reputational risks | bar: Prepare for install PFI001 to Install FSCD DD006
D1-4 | Levels of information necessary to perform tasks with construction products without making assumptions | Follow and understand the organisation's rules on levels of information needed to supply or use construction product, product information or propose for consideration an alternative construction product within a direct scope of application without making assumptions | no | no | no | no | yes | yes | yes | yes | yes | yes | yes
Construction product performance and characteristics
D2-1 | Construction products and their application | Understand and explain the requirements for the construction product and its performance, characteristics and approved uses for various built environment scenarios or situations | no | no | no | no | no | yes | yes | yes | yes | yes | yes
D2-2 | Content of product information management | Recognise where product information is incomplete, inaccurate or out of date and where appropriate seek guidance for resolution | no | no | no | no | no | yes | no | no | no | no | no
D2-3 | Scopes and limitations | Understand and explain performance scope / limitations of a construction project | no | no | no | no | no | yes | yes | yes | yes | yes | yes
Regulations, standards and certification
E3-1 | Regulatory oversight | Be aware that there is a framework of legislation, regulations and standards that should be worked to when using construction products and the consequences of not operating within these requirements | yes | no | no | no | no | yes | yes | yes | yes | no | no
D3-1 | Regulatory oversight | Be aware of the regulatory oversite associated with construction products and the consequences of deviating from guidance and regulations | yes | no | no | no | no | yes | yes | yes | yes | no | no
D3-2 | Regulations and guidance | Confirm as necessary that instructions, controls and procedures for construction products are compliance with relevant regulations including those for materials and workmanship | bar: Prepare for install PFI001 to Install FSCD DD006
D3-4 | Verifying product information | Understand the Code for Construction Product Information and how it is utilised | bar: Prepare for install PFI001 to Install FSCD DD006
D3-5 | Conformity marking | Understand the content of the Declaration of Performance (where available) and be able to compare products intended for the same direct scope of application | bar: Prepare for install PFI001 to Install FSCD DD006
D3-6 | Absence of conformity marking | Understand that not all construction products fall within the scope of a harmonised or designated standard or a European or UK assessment document and therefore cannot be conformity marked | bar: Prepare for install PFI001 to Install FSCD DD006
D3-7 | Third party certification | Understand that third party certification identifies a construction product's fitness for use in specific applications when following appropriate levels of workmanship | bar: Prepare for install PFI001 to Install FSCD DD006
D3-8 | Test reports | Understand that a test report identifies a construction product's performance in a single application when following appropriate levels of workmanship | bar: Prepare for install PFI001 to Install FSCD DD006
Products as part of a build environment system, including substitution / value engineering
D4-1 | Holistic built environment systems | Understand and explain how the construction product's performance contributes to the built environment safety according to the application | no | no | no | no | no | yes | yes | yes | yes | yes | yes
D4-2 | Managing performances to satisfy application in different levels of scopes of application | Know that systems are tested with specific construction products and that substitution may impact the conformance or compliance of that system; and that review, evaluation and approval must be sought | no | no | no | no | no | yes | yes | yes | yes | yes
Installation
D5-1 | Installation | Explain the installation method for the construction product | no | no | no | no | no | yes | no | no | yes | no | no
Durability, service life and maintenance
D6-1 | Consideration for durability, service life and maintenance requirements | Explain maintenance requirements, limitations and service life of a construction product over time in a direct scope of application | bar: Prepare for install PFI001 to Install FSCD DD006
Warranties and guarantees
D7-2 | Communicating warranties and guarantees | Understand and explain the principles of warranties / guarantees, what would be included, excluded and required to maintain them | bar: Prepare for install PFI001 to Install FSCD DD006
D7-4 | Risk assessing deviation from standard warranties and guarantees | Understand that there may be bespoke warranties or guarantees available, but that you cannot offer any such solution without direct confirmation from the individual with appropriate authority as this impacts on an organisation's liability | bar: Prepare for install PFI001 to Install FSCD DD006
Storage and handling
D8-1 | Information for storage and handling | Understand and explain product information regarding requirements on the storage and handling of construction products | yes | no | no | yes | no | yes | no | no | no | no | no
D8-2 | Actions of storage and handling | Confirm the requirements of storage and handling are met and the performance of the construction products is not compromised | yes | no | no | yes | no | yes | no | no | yes | no | no